[image: image1.png]=
==
===

Pahlén

VACUUM CLEANER TROLLEY

Vacuum cleaner trolley for large pools such
as public installations etc.

Vacuum cleaner trolley

" Art. No. 1 The cleaner is equipped with a cartridge
| filter in a stainless steel container and has

——' an effective surface area of 9,7 m?, which
ensures long periods of service. A high
capacity (200 I/min) all bronze pump,
0,55 kW, makes cleaning extremely easy
and air bleeding of the vacuum hose is
automatically controlled by the pump. The
cleaner is supplied complete with 25 m of
cable and a motor contactor for single
phase connection. All the equipment is
mounted on a stainless steel platform and
trolley.

Vacuum head

[ Art Né | FAIRLOCK for commercial use with wheels
312'91 ’ and replacement brush. Heavy design.
Hose 40 or 50 mm. Width 470 mm.

Telescopic handle
Art. No. Made from anodized aluminium. Intended
31252 for vacuum hose, brush, leaf rake etc.

2 T length36-7.2m.

Vacuum hose

Art. No. Flexible floating hose of soft PVC with end

31208 | cuffs. ,
Length 18 m. Connection R 40 (1%4").

1100

300

650

31298

IMPORTANT! The power source of this unit must be protected by a ground fault interrupter.

Qrwa rwa
Tmi VESI-VESTERINEN

~~= vedenpuhdistuksen erikoisliike ~—=
(03) 762 1124 Alhaistentie 23, 15560 Nastola 0400 498 038

©
©
©
©)
©
©

uima- ja porealtaat tarvikkeineen
uimahallivarusteet ja -tarvikkeet
talousvesisuodattimet

veden kemikaliointi
suihkulihteet

neuvontapalvelu (myds iltaisin)




